## Slide 1: Summary PowerPoint
Ankita Roychoudhury
Murray Lab

## Slide 2: From Murray Meeting
10.12.2020
File: 20201012_murray_mtg_2

## Slide 3: Experimental Plans
1) ATP Calibration Curve 2) Quantify GFP and ATP in bulk TX-TL with DNA
EXAMPLE GFP Curve
EXAMPLE ATP Curve

## Slide 4
In all cases, GFP and ATP will be measured
#2 cont.) Proposed Controls
Exp # | deGFP DNA | Energy Buffer | TXTL Extract | Salt | Why?
1 | ✔️ | ✔️ | ✔️ |  | Positive Control
2 |  |  | ✔️ | ✔️ | Negative Control for background fluorescence
3 |  | ✔️ | ✔️ |  | Quantify ATP depletion due to metabolic leak
4 | ✔️ |  | ✔️ | ✔️ | How does the system perform without energy? How quickly does energy run out?
5 | ✔️ | ✔️ |  | ✔️ | How does the system perform with only energy?

## Slide 5
3) Add more ATP at start 4) Add more ATP in middle
EXAMPLE GFP Curve
EXAMPLE ATP Curve
PREDICTED ATP Curve
PREDICTED GFP Curve
Hypothesis: Proportionally more protein production with more initial ATP
PREDICTED GFP Curve
PREDICTED ATP Curve
Hypothesis: Can revive protein production with ATP spike

## Slide 6: After that…
5) Greater Initial Concentration and Spike Experiments with 3PGA, Energy Mix, and/or DNA to see if any are the limiting factor
6) Characterize GFP and ATP with TXTL Extract, Buffer, & DNA in vesicles
7) Add ATP Synthase, Proton Pump, and Test!

## Slide 7: Exp 5: ATP Assay Calibration
20201019_exp5_atpassaycalibration

## Slide 8
This was wrong because did fluorescence not luminescence

## Slide 9: Exp 7: GFP Controls Time Series
20201022_exp7_controls_gfp_timeseries

## Slide 11: Better plotting

## Slide 12: Exp 8: GFP and ATP Long Controls
20201023_exp8_controls_gfp_atp

## Slide 13
The last data point had bubbles (removed from graphs)
Also used fluorescence, which is wrong

## Slide 14: Exp 9: ATP Assay Calibration Round 2
Done with luminescence
11/2/2020
20201102_exp9_atpassaycalibration_2

## Slide 15
slope=1.2732601723574946,
intercept=-1.6966496369015145

## Slide 16: Exp 10: ATP Control Round 2
Done with luminescence this time!
20201103_exp10_controls_atp

## Slide 18: With ATP Conc

## Slide 19: Exp 11: ATP in Beginning
20201103_exp11_gfp_atpinbeg_timeseries

## Slide 20
This is bad data because volume was not consistent

## Slide 21: Exp 12: Reagents in Beginning
20201104_exp12_gfp_moreinbeg_timeseries

## Slide 22
Seems weird since positive control doesn’t go to 4000, which I think it normally does

## Slide 23
Data in raw lum values but doesn’t matter because not that accurate

## Slide 24: Exp 13: Spike Experiments
20201106_exp13_gfp_spike
20201107_exp13_gfp_post_spike

## Slide 25: Pre Spike

## Slide 26: Post Spike

## Slide 27: ATP End Point Values

## Slide 28: With Better Labels

## Slide 29: Summary Plot, compare pre and post spike

## Slide 30: Exp 14\ Exp 14: ReDo Spike and More in Beg Experiments
20201115_exp14_gfp_atp_adp_moreinbeg_spike
Tried to use echo but wasn’t working,

## Slide 32: Need to add adp endpoint data here

## Slide 33: Exp 15: ADP Assay Calibration
20201117_exp15_adp_assay_calibration

## Slide 35: Exp 16: ADP and ATP Test
20201119_exp16_adp/atp_test
Try to see what happens when you add diff ratios of adp and atp

## Slide 36: Make and add plots here

## Slide 37: Exp 17: ADP Assay Calibration with Echo
20201119_exp17_adpassay_calibration_wecho
Didn’t look that great

## Slide 39: Exp 18: More in Beg and Spike Exp. With Echo
20201121_exp18_echospike
Finally some good data

## Slide 41
These added for lab mtg pres, only atp related wells

## Slide 42: Exp 19: add ATP and take Pi endpoint data
20201203_exp19_adpatp_pi_test

## Slide 43
This one without weird pc one and reversed so colors are better

## Slide 44: Exp 20: Vesicles with GFP
20201204_exp20_vesicles_gfp
Tried to image vesicles with GFP, Buffer, Extract inside. Got some images but no GFP. Tried reading in biotek but no solid readout.

## Slide 45
Img 4 might have some gfp if that’s the right channel

## Slide 46: Exp 21: Vesicles with ACMA
20201205_exp21_vesicles_acma