## Slide 1: Summary PowerPoint
Ankita Roychoudhury
Murray Lab

## Slide 2: From Murray Meeting
10.12.2020
File: 20201012_murray_mtg_2

## Slide 3: Experimental Plans
1) ATP Calibration Curve 2) Quantify GFP and ATP in bulk TX-TL with DNA
EXAMPLE GFP Curve
EXAMPLE ATP Curve

## Slide 4
In all cases, GFP and ATP will be measured
#2 cont.) Proposed Controls
Exp # | deGFP DNA | Energy Buffer | TXTL Extract | Salt | Why?
1 | ✔️ | ✔️ | ✔️ |  | Positive Control
2 |  |  | ✔️ | ✔️ | Negative Control for background fluorescence
3 |  | ✔️ | ✔️ |  | Quantify ATP depletion due to metabolic leak
4 | ✔️ |  | ✔️ | ✔️ | How does the system perform without energy? How quickly does energy run out?
5 | ✔️ | ✔️ |  | ✔️ | How does the system perform with only energy?

## Slide 5
3) Add more ATP at start 4) Add more ATP in middle
EXAMPLE GFP Curve
EXAMPLE ATP Curve
PREDICTED ATP Curve
PREDICTED GFP Curve
Hypothesis: Proportionally more protein production with more initial ATP
PREDICTED GFP Curve
PREDICTED ATP Curve
Hypothesis: Can revive protein production with ATP spike

## Slide 6: After that…
5) Greater Initial Concentration and Spike Experiments with 3PGA, Energy Mix, and/or DNA to see if any are the limiting factor
6) Characterize GFP and ATP with TXTL Extract, Buffer, & DNA in vesicles
7) Add ATP Synthase, Proton Pump, and Test!

## Slide 7: Experiments 1,2,3

## Slide 8: Summary
learn biotek, try to learn echo with Miki.
Pipetting was good, DNA stored in 4C box

## Slide 9: Exp 4: ATP Controls (Attempt 1)
Saved as 20201020_exp4_controls

## Slide 10
Controls:
  2x Positive control – deGFP DNA, buffer, extract
  Negative control – extract
  ATP depletion – buffer, extract
  No buffer – deGFP DNA, extract
  No extract – deGFP DNA, buffer
Adapted from ATP_Assay_Fluorescence protocol
  Which is wrong!! Needed to use luminescnce
Notes: ATP depletion does not have DNA, seems to have less ATP in the beginning and then progressively more. Not sure why. Maeks sense that it has the lowest starting point. How come negative control is higher tho?? Most likely because extract has some color.
Negative control with only extract increased in ATP?? What’s going on there.
No buffer, some atp use but then none.
No extract, makes sense that it has the highest starting point, some is used
Positive control uses more in the beginning, gets higher why? More atp is being produced maybe by atp regeneration pathway

## Slide 11: Takeaways
Can’t take data too seriously because of incorrect data collection
ATP depletion does not have DNA, seems to have less ATP in the beginning and then progressively more. Not sure why. Maeks sense that it has the lowest starting point. How come negative control is higher tho?? Most likely because extract has some color.
Negative control with only extract increased in ATP?? What’s going on there.
No buffer, some atp use but then none.
No extract, makes sense that it has the highest starting point, some is used
Positive control uses more in the beginning, gets higher why? More atp is being produced maybe by atp regeneration pathway

## Slide 12: Exp 5: ATP Assay Calibration
20201019_exp5_atpassaycalibration

## Slide 13
Doing both Standard ATP Assay (as described in Cayman Chem protocol)
  https://www.caymanchem.com/pdfs/700410.pdf
  - 1 uM, 325 nM, 105.6 nM, 34.3 nM, 11.2 nM, 3.6 nM, 1.2 nM, 0 nM
- And my own ATP assay
  - got ATP aliquots from Gibson assembly box 4degC
  - assumed 10 mM, 10 uL each
  - 5, 1, 10^-1, 10^-2, 10^-3, 10^-4 mM
Adapted from ATP_Assay_Fluorescence protocol
  Which is wrong!! Needed to use luminescnce

## Slide 14
This was wrong because did fluorescence not luminescence

## Slide 15: Exp 6: Controls for a longer time + GFP
20201021_exp6_controls_longertime+gfp

## Slide 16
Collected ATP and GFP
Collected 5 time points on 10/21. Collected 1-2 time points on 10/22
Day 2 was almost useless, most of the liquid from E stock wells evaporated
Need to repeat and make sure to keep plate cover overnight
Can consider GFP data, but Atp data took fluor again

## Slide 17: Takeaways
Positive control is fastest, makes sense. Next is ATP depletion, which is weird because that one has no DNA so why is it getting higher GFP? Maybe because of extract but the no buffer is lower.
Negative control is next, so no buffer and no extract are effectively similar to negative control. Which is expected. Weird why the atp depletion is a bit higher. WE can verify this with better time series data.

## Slide 18: Exp 7: GFP Controls Time Series
20201022_exp7_controls_gfp_timeseries

## Slide 19
Controls:
  2x Positive control – deGFP DNA, buffer, extract
  Negative control – extract
  ATP depletion – buffer, extract
  No buffer – deGFP DNA, extract
  No extract – deGFP DNA, buffer

## Slide 20: Plotting with Processing functions
Notes: As expected, positive control is way higher than the rest.
ATP Depletion higher than the rest again!!! Consider WHY!!!
pH based fluorescence change maybe. MK data goes lower for buffer + extract and buffer + extract + DNA (not seen for DNA here maybe because GFP overpowers those differences)

## Slide 21: Takeaways
As expected, positive control is way higher than the rest.
ATP Depletion (only buffer) higher than the rest again!!! Consider WHY!!!
Why is it higher than just the extract portion

## Slide 23: Better plotting

## Slide 24: Exp 8: GFP and ATP Long Controls
20201023_exp8_controls_gfp_atp

## Slide 25
Controls:
  2x Positive control – deGFP DNA, buffer, extract
  Negative control – extract
  ATP depletion – buffer, extract
  No buffer – deGFP DNA, extract
  No extract – deGFP DNA, buffer
ATP assay reaction done with luminescence again
Didn’t really fix the analysis .ipynb file (serious problems but useless data)

## Slide 26
The last data point had bubbles (removed from graphs)
Also used fluorescence, which is wrong

## Slide 27: Exp 9: ATP Assay Calibration Round 2
Done with luminescence
11/2/2020
20201102_exp9_atpassaycalibration_2

## Slide 28: ATP Assay Calibration Concentrations
Used ABCDEFG Samples from the https://www.caymanchem.com/pdfs/700410.pdf
Also made my own atp aliquots from atp found in lab (all in mM)
1 uM
325 nM
105.6 nM
34.3 nM
11.2 nM
3.6 nM
11.2 nM 10 uM 0 nM ALL DIVIDED BY 2
5
1
10^-1
10^-2
10^-3
10^-4

## Slide 29: From 12.27.2020 Re-analysis (in mM)
Only used data from standard assay given in Cayman Chem
(slope, intercept) = (0.61778603, 10.2830528)
Use get_atp_concs() from atp_lum_vals.py to get ATP Concentrations (mM) from luminescence values using CaymanChem Assay

## Slide 30
slope=1.2732601723574946,
intercept=-1.6966496369015145
Notes: This includes my data from ATP stock found in lab and is in nM

## Slide 31: Exp 10: ATP Control Round 2
Done with luminescence this time!
20201103_exp10_controls_atp

## Slide 32: (incorrect, old)

## Slide 33: With ATP Conc (incorrect, old)

## Slide 34: Added 12.31.2020
Notes: Buffer alone with dna seems to have some pH changing stuff going on, is this systematic? Does this happen continuously?? Or just when the buffer is transferred?? Should see what happens with ATP over time in buffer alone.
Buffer extract and buffer extract dna have the same diference, pretty similar, DNA doesn’t have that much of difference. But DNA is consistently a bit lower, interesting, didn’t Manisha see that with her data too for pH
Negative control and no energy are at the bottom. No ATP in just extract and DNA

## Slide 35: Takeaways
Buffer alone with dna seems to have some pH changing stuff going on, is this systematic? Does this happen continuously?? Or just when the buffer is transferred?? Should see what happens with ATP over time in buffer alone.
Buffer extract and buffer extract dna have the same diference, pretty similar, DNA doesn’t have that much of difference. But DNA is consistently a bit lower, interesting, didn’t Manisha see that with her data too for pH
Negative control and no energy are at the bottom. No ATP in just extract and DNA

## Slide 36: Exp 11: ATP in Beginning
20201103_exp11_gfp_atpinbeg_timeseries

## Slide 37
This is bad data because volume was not consistent

## Slide 38: 1.4.2020 With Processing Functions
Notes: Adding more atp doesn’t seem to increase steady state values
Check slopes

## Slide 39: Takeaways
Adding more atp doesn’t seem to increase steady state values
Check slopes

## Slide 40: Exp 12: Reagents in Beginning
20201104_exp12_gfp_moreinbeg_timeseries

## Slide 41
Seems weird since positive control doesn’t go to 4000, which I think it normally does

## Slide 42
Data in raw lum values but doesn’t matter because not that accurate

## Slide 43: 1.4.2021 with Processing Functions

## Slide 44: ATP Assay Endpt Vals with Processing funcs

## Slide 45: TAKEAWAYS NEEDED

## Slide 46: Exp 13: Spike Experiments
20201106_exp13_gfp_spike
20201107_exp13_gfp_post_spike

## Slide 47: Pre Spike

## Slide 48: Post Spike

## Slide 49: ATP End Point Values

## Slide 50: With Better Labels

## Slide 51: Summary Plot, compare pre and post spike

## Slide 52: Plots with processing funcs 1.5.2021

## Slide 53: Takeaways Needed

## Slide 54: Exp 14\ Exp 14: ReDo Spike and More in Beg Experiments
20201115_exp14_gfp_atp_adp_moreinbeg_spike
Tried to use echo but wasn’t working,

## Slide 56: Need to add adp endpoint data here

## Slide 57: Exp 15: ADP Assay Calibration
20201117_exp15_adp_assay_calibration

## Slide 59: Exp 16: ADP and ATP Test
20201119_exp16_adp/atp_test
Try to see what happens when you add diff ratios of adp and atp

## Slide 60: Make and add plots here

## Slide 61: Exp 17: ADP Assay Calibration with Echo
20201119_exp17_adpassay_calibration_wecho
Didn’t look that great

## Slide 63: Exp 18: More in Beg and Spike Exp. With Echo
20201121_exp18_echospike
Finally some good data

## Slide 65
These added for lab mtg pres, only atp related wells

## Slide 66: Exp 19: add ATP and take Pi endpoint data
20201203_exp19_adpatp_pi_test

## Slide 67
This one without weird pc one and reversed so colors are better

## Slide 68: Exp 20: Vesicles with GFP
20201204_exp20_vesicles_gfp
Tried to image vesicles with GFP, Buffer, Extract inside. Got some images but no GFP. Tried reading in biotek but no solid readout.

## Slide 69
Img 4 might have some gfp if that’s the right channel

## Slide 70: Exp 21: Vesicles with ACMA
20201205_exp21_vesicles_acma

## Slide 72: Exp 26: GFP Time Series Controls
Repeating exp 7

## Slide 73
Controls:
  2x Positive control – deGFP DNA, buffer, extract
  Negative control – extract
  ATP depletion – buffer, extract
  No buffer – deGFP DNA, extract
  No extract – deGFP DNA, buffer